[image: image1.png]e

PMH

PRODUTOS
MEDICO
HOSPITALARES



[image: image2.png]


[image: image3.png]


 
ASSUNTO: 107 - SISTEMAS DE SOROS ALTO DÉBITO 
	DESIGNAÇÃO:  

TROUSSE DE LAVAGE VESICALE/ ORGANE AVEC UN PERFORATEUR ET CHAMBRE
SET VOOR BLAASSPOELING, 1 SPIKE EN LL
	REFERÊNCIA

107.2034

	DES. TÉCNICO

Nº 2034

REV.03
	TIPO DE PRODUTO

DESCARTÁVEL


	COMPONENTES


	DESIGNAÇÃO
	REFERÊNCIA
	QUANTIDADE

	- BESCHERMKAPJE VOOR PERFORATOR
- PROTECTEUR DE PERFORATEUR
	C1
	1

	- 1-WEG PERFORATOR
- PERFORATEUR  Á UNE VOIE
	C20
	1

	- TUBULURE 5mmx6.80mm, 25cm, SANS PHTHALATES (DEHP)

- LEIDING 5mmx6.80mm, 25cm –DEHP VRIJ
	T237
	1

	- DUBBELE KLEP
	C19
	1

	- TUBULURE 5.50x7.5mm, 4.2cm, SANS PHTHALATES (DEHP)

- LEIDING 5.50x7.5mm, 4.2cm –DEHP VRIJ
	T240
	1

	- TUBULURE 16.5mmx18mm – 14cm, SANS PHTHALATES (DEHP)

- LEIDING 16.5mmx18mm – 14cm –DEHP VRIJ
	T120
	1

	- TUBULURE 5.50x7.5mm-3.7cm, SANS PHTHALATES (DEHP)

- LEIDING 5.50x7.5mm-3.7cm –DEHP VRIJ
	T130
	1

	- TUBULURE 5mmx6.80mm, 170cm, SANS PHTHALATES (DEHP)

- LEIDING 5mmx6.80mm, 170cm –DEHP VRIJ
	T050
	1

	- ROLKLEM 6mm / - ROLLER 6mm
	C49
	1

	- WIELTJE VOOR ROLKLEM 6mm 

- ROULETTE POUR ROLLER
	C7
	1

	- CONNECTOR
	C47
	1

	- LEIDING 5.0x9.0mm, 10cm

- TUBULURE 5.0x9.0mm, 10cm
	T591
	1

	- LUER LOCK
	C27
	1

	- LUER-LOCK PLUG / – LUER-LOCK STOPJE
	C28
	1

	- BAG
	S07
	1


	Embalagem

	Cód. Barras 560771602034 3

	10 unidades por saco; 

	4X10= 40 unidades / caixa


[image: image4.png]


[image: image5.png]



C28





Doc. Nº PMH-07-06 (Rev.01)





C27





C20





T237





C7





T050





C47





T591





C1





C19





T120





T130








T240





Elaborado GQ





Ass.: Vânia Rodrigues Data: 07 / 07 / 2014    





C49








